tTA Genotyping Protocol with MAPT control

Updated July 2021

These primers amplify the original tTA construct used in CaMKII-tTA Line B, ROSA26-LNL-tTA, Pcp2-tTA, GABAR6-tTA, and PITX3-tTA mice.  They WILL NOT WORK with the new tTA2 construct used in the Nop-tTA mice.

| Reagent | Volume/rxn (ul) |
| --- | --- |
| ddH2O | 7.6 |
| 50 M tTA Forward | 0.1 |
| 50 M tTA Reverse | 0.1 |
| 50 M MAPT Forward | 0.1 |
| 50 M MAPT Reverse | 0.1 |
| 2x PCR PreMix (Green Dye) (Syd Labs, MB067-EQ2G-L) | 10 |
| Tail DNA | 2 |

PCR Program:  Touchdown (ABI SimpliAmp)

- 94C for 1 minute

- A. 94C for 15 seconds

B. 65 C for 15 seconds

C. 68 C for 30 seconds

D. Repeat 2A-C for 10 cycles

- A. 94C for 15 seconds

B. 60C for 15 seconds

C. 72 C for 30 seconds

D. Repeat 3A-C for 28 cycles

4.   72C for 7 minutes
5.   Hold at 10C

Primer Sequences

tTA Forward: 			CGC TGT GGG GCA TTT TAC TTT AG

tTA Reverse: 			CAT GTC CAG ATC GAA ATC GTC

MAPT Forward (IMR3092): 	CTC AGC ATC CCA CCT GTA AC

MAPT Reverse (IMR3093):	CCA GTT GTG TAT GTC CAC CC

Gel Percentage: 2% Agarose Gel with 10 ul of 10 mg/ml ethidium bromide (30min at 175V in 1x SB)

Ladder: TrackItTM 100 bp Ladder (Invitrogen, Catalog number: 10488058)

Expected Products:  Transgenic animals should produce one band from the tTA product at approximately 480 bp.  All animals, transgenic and wild-type, should exhibit the 187 bp band indicating successful amplification of the tail DNA.